## Slide 1: CT EEB X1931-5 Commercial Refrigeration Efficiency Update Study Max Ma, ERS December 16th, 2020

## Slide 2: Agenda
Study Background
Detailed Tasks
Study Objectives and Approach
2
Schedule and Budget

## Slide 3: Study Background
C&I measures involving interactive refrigeration savings currently use outdated efficiency Coefficient of Performance and Annualized Coefficient of Performance (COP and ACOP) values.
  These values are derived from the 2009 ASHRAE Handbook and experience from submitted projects.
  Measures currently utilizing COP and ACOP
    LEDs in refrigerated spaces
    Adding case doors
    Evaporator fan EC motors
    Evaporator fan controls
  Potential measures that could utilize COP and ACOP in future revisions
    Door heater controls
    Cooler night covers
  Target facilities are grocery stores, convenience stores, restaurants, cafeterias etc, excluding warehouses and industrial processes.
Refrigeration measures do not further consider potential HVAC interactivity.
  HVAC interactivity applicable where condensers are located in cooled and heated spaces, e.g. restaurants and space-constrained school kitchens
Notes: Other jurisdictions in the northeast also do not have consistent and updated references for refrigeration COP and ACOP values, thus this research allows CT PSD to be leading the region on updating a frequently utilized parameter

## Slide 4: Study Objectives
This study focuses on two research objectives:
The first objective of this research is to update aggregate commercial refrigeration efficiency values through primary research, including literature review, aggregating recent field data and outreach to refrigeration operators.
  Update COP and ACOP values for coolers and freezers, respectively, which are used in current CT PSD algorithms for the four impacted measures
The second objective of this research is to recommend an approach to quantify HVAC interactive savings for measures with refrigeration savings.
  Calculate heating and cooling interactive factors based on HVAC equipment type at each facility and condenser location

## Slide 5: Detailed Tasks
Task 1: Review of Manufacturers’ Databases
  ERS will identify the manufacturers of commercial refrigeration systems most commonly installed in Connecticut. ERS will compile data from a minimum of four manufacturers. The planned data collection will include:
    Nameplate voltage, amperage, phase, power factor, or real power
    Nameplate refrigeration capacity
    Performance data if available (% power at % load, or similar)
Task 2: Interview with Industry Experts
  ERS will identify and interview a minimum of four refrigeration industry experts who are familiar with commercial installations and operations in Connecticut. The planned data collection will include:
    Typical refrigeration efficiency for currently installed systems
    Typical refrigeration efficiency for new systems
    Factors affecting refrigeration efficiency
      Age/degradation
      Facility type
      Condenser location

## Slide 6: Detailed Tasks
Task 3: Review of Nameplate Data from Recent Connecticut Studies
  ERS will review studies conducted in Connecticut within the past 5 years that included refrigeration nameplate information. ERS will extract the following information from the relevant studies (where available):
    Nameplate voltage, amperage, phase
    Nameplate refrigeration capacity
    Condenser locations – whether mechanically cooled
Task 4: Virtual On-Site Visits to Facility Owners/Operators
  ERS will reach out to a minimum of 10 owners and operators of facilities with commercial refrigeration systems, and conduct virtual site visits to collect the following information:
    Nameplate voltage, amperage, phase
    Nameplate refrigeration capacity
    Condenser locations – whether mechanically cooled
    Age, degradation, maintenance and other operational challenges that may impact efficiency

## Slide 7: Detailed Tasks
Task 5: Analysis
  Using information collected from Tasks 1 through 4, ERS will:
    Calculate average COP and ACOP values using data from each task – averaging values with removal of data anomolies
    Recommendations for updating the COP and ACOP values in the CT PSD (one set of values for coolers and one set for freezers), including the following measures:
      LEDs in refrigerated spaces, Adding case doors, Evaporator fan EC motors, Evaporator fan controls
    Recommend measures for inclusion of HVAC interactive factors, including:
      HVAC factor if condenser is in a space known to be conditioned
      HVAC factor if condenser location is unknown
    Any other factors impacting refrigeration efficiency, such as:
      Aging
      Degradation
Task 6: Reporting
  Draft and final summary report
  Final powerpoint presentation of results and recommendations

## Slide 8: Summary Objectives and Outcomes
Objective | Method | Outcome
Update COP and ACOP values | Review of Manufacturers’ Databases Interview with Industry Experts Review of Nameplate Data from Recent Connecticut Studies Virtual On-Site Visits to Facility Owners/Operators Averaging COP and ACOP values within each data collection task | Recommend updated values for COP and ACOP, one set for coolers and one set for freezers, for the following measures: LEDs in refrigerated spaces, Adding case doors, Evaporator fan EC motors, Evaporator fan controls
Quantify HVAC heating and cooling interactive factors resulting from commercial refrigeration measures | Review of Manufacturers’ Databases Review of Nameplate Data from Recent Connecticut Studies Virtual On-Site Visits to Facility Owners/Operators Assigning a heating and cooling efficiency for each data point based on system type (0 for condensers not located within building envelope) Averaging heating and cooling factor within data collected from each task | Recommend HVAC heating and cooling interactive factors for: If condenser location is known to be heated/cooled If condenser location is unknown

## Slide 9: Schedule and budget
December 2020 – Study kickoff
February 2021 – Complete data collection
April 2021 – Finalize analysis
May 2021 – Final report and presentation
Reports finalized for June PSD update
Estimated Budget – $29.6k

## Slide 10: Thank You
10

## Slide 11
Max Ma, Senior Engineer
mma@ers-inc.com
978-332-5832
ERS is an energy and engineering consulting firm providing services in energy efficiency customer engagement, implementation, evaluation, both pre- and post-installation M&V, custom feasibility studies, and distributed and renewable generation assessment.